## Tag List
Tag Name | Data Type | Read/Write | Address | Array Index
Solenoid #0 | Discrete | Read-Write | 01 | MB_C[0]
Solenoid #1 | Discrete | Read-Write | 02 | MB_C[1]
Solenoid #2 | Discrete | Read-Write | 03 | MB_C[2]
Solenoid #3 | Discrete | Read-Write | 04 | MB_C[3]
Solenoid #4 | Discrete | Read-Write | 05 | MB_C[4]
Solenoid #5 | Discrete | Read-Write | 06 | MB_C[5] | Internal Boolean Data
Solenoid #6 | Discrete | Read-Write | 07 | MB_C[6] | Phase Mix
Pump Running | Discrete | Read-Write | 08 | MB_C[7] | Phase Initalize
Mixer Running | Discrete | Read-Write | 09 | MB_C[8] | Phase Idle
Pump Speed | Unsigned_int_16 | Read-Write | 41 | MB_HR[0] | Phase Dispense
Pump Direction | Discrete | Read-Write | 010 | MB_C[9] | Phase End
E-Stop | Discrete Input | Read-Only | 11 | MB_I[0]
Clean Mode | Discrete | Read-Write | 011 | MB_C[10]
Engineering Mode | Discrete | Read-Write | 012 | MB_C[11]
Production Mode | Discrete | Read-Write | 013 | MB_C[12]
Reset | Discrete | Read-Write | 014 | MB_C[13]
Bottle Station State #1 | Enum | Read-Write | 42 | MB_HR[1]
Bottle Station State #2 | Enum | Read-Write | 43 | MB_HR[2]
Bottle Station State #3 | Enum | Read-Write | 44 | MB_HR[3]
Bottle Station State #4 | Enum | Read-Write | 45 | MB_HR[4]
Bottle Station State #5 | Enum | Read-Write | 46 | MB_HR[5]
Bottle Station State #6 | Enum | Read-Write | 47 | MB_HR[6]
Production Phase | Enum | Read-Write | 48 | MB_HR[7]
Clean Phase | Enum | Read-Write | 49 | MB_HR[8]
Bottle Count Target | Unsigned_int_16 | Read-Write | 410 | MB_HR[9]
Current Bottle Count | Unsigned_int_16 | Read-Write | 411 | MB_HR[10]
ProductionScreenHide | Discrete | N/A | 15 | N/A
Timer | Unsigned_int_16 | Read-Write | 412 | MB_HR[11]

## IO
| Slot1 - Relay Card |  | Slot2 - Combo Discrete Card |  | Slot 3 - PWM Card
Channel 1 | Valve 0 - MB_C[0] | Channel 1 Input | E-Stop - MB_I[0] | Channel 1 | Pump Speed - MB_HR[0]
Channel 2 | Valve 1 - MB_C[1] | Channel 2 Input |  | Channel 2
Channel 3 | Valve 2 - MB_C[2] | Channel 3 Input |  | Channel 3
Channel 4 | Valve 3 - MB_C[3] | Channel 4 Input |  | Channel 4
Channel 5 | Valve 4 - MB_C[4] | Channel 5 Input
Channel 6 | Valve 5 - MB_C[5] | Channel 6 Input
Channel 7 | Valve 6 - MB_C[6] | Channel 7 Input
Channel 8 | Pump On/Off - MB_C[7] | Channel 8 Input
|  | Channel 1 Output | Mixer On/Off - MB_C[8]
|  | Channel 2 Output | Pump Direction -MB_C[9]
Channel 3 Output
Channel 4 Output
Channel 5 Output
Channel 6 Output
Channel 7 Output

## Enumerations
Valve / Bottle Enumeration
Index | State/Message
0 | Nothing/Inactive
1 | Filling
2 | Filled
3 | Ready
4 | Not Ready
5 | Out of Service
Bottle Size
Index | State/Message
0 | Not selected
1 | 120ml
2 | 250ml
3 | 625ml
Production Phases
Index | State/Message
0 | Not Started
1 | Starting
2 | Running
3 | Idle
4 | Stopping
5 | Stopped
6 | Ending Run

## Error Enumeration
Error ID | Error Description | Resolution
0 | No Error | N/A
1 | Modubus Server - Failed Setup | Power Cycle
2

## Checkout
Checkout Items | Modes / details
E-Stop Funcionality | Production | Cleaning | Normal | Engineering
HMI Programming | Production | Cleaning | Normal | Engineering
Pump Math | Workout estimate for flow rate to calculate stop timing
Establish golden run | 120ml | 250ml | 625ml | Run tthrough whole tank
Finish Engineering Mode | Full IO control | Access screen
Finish Production Mode
Finish Cleaning Mode
Documentation / trainning | Check with Susan on preference